## Labor Unit &amp; Material Pricing
Item Key | Category | Item Description | Labor hrs | Cost | Unit | SKU # | Manufacturer | Vendor | Material Cost Code | Mat Cost-Code Description | Labor Cost Code | Labor Cost-Code Description
ITM-000001 | Conduit | 1/2" EMT | 2.25 | 37.34 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000002 | Conduit | 3/4" EMT | 2.85 | 81.83 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000003 | Conduit | 1" EMT | 3.75 | 112.36 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000004 | Conduit | 1-1/4" EMT | 4 | 182.54 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000005 | Conduit | 1-1/2" EMT | 4.25 | 223.21 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000006 | Conduit | 2" EMT | 4.75 | 261.44 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000007 | Conduit | 3" EMT | 7.6 | 405.64 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000008 | Conduit | 4" EMT | 11.5 | 427.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000009 | Conduit | 1/2" PVC | 1.9 | 18.26 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000010 | Conduit | 3/4" PVC | 2.6 | 21.76 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000011 | Conduit | 1" PVC | 3 | 31.87 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000012 | Conduit | 1-1/2" PVC | 4 | 56.36 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000013 | Conduit | 2" PVC | 4.5 | 71.34 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000014 | Conduit | 3" PVC | 7 | 136.7 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000015 | Conduit | 4" PVC | 10.5 | 188.66 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000016 | Conduit | 1/2" RIGID | 4 | 180.63 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000017 | Conduit | 3/4" RIGID | 4.5 | 276.13 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000018 | Conduit | 1" RIGID | 5 | 295.93 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000019 | Conduit | 1-1/4" RIGID | 7 | 274.03 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000020 | Conduit | 1-1/2" RIGID | 8 | 379.8 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000021 | Conduit | 2" RIGID | 10 | 467.21 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000022 | Conduit | 3" RIGID | 14 | 813.12 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000023 | Conduit | 4" RIGID | 18 | 1125.98 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000024 | Conduit | 1/2" SEALTITE | 3.25 | 87.19 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000025 | Conduit | 3/4" SEALTITE | 3.75 | 72.72 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000026 | Conduit | 1" SEALTITE | 4 | 106.98 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000027 | Conduit | 1-1/4" SEALTITE | 4.5 | 122.56 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000028 | Conduit | 1-1/2" SEALTITE | 5 | 218.36 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000029 | Conduit | 2" SEALTITE | 6.5 | 313.61 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000030 | Conduit | 3/8" STL FLEX | 3.25 | 36.05 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000031 | Conduit | 3/8" ALU FLEX | 3.25 | 31.78 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000032 | Conduit | 1/2" RED EMT | 2.25 | 25.57 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000033 | Conduit | 3/4" RED EMT | 2.85 | 44.27 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000034 | Conduit | 1" BLUE EMT | 3.75 | 0 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000035 | Conduit | 1/2" FLEX | 3.25 | 48.64 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000036 | Conduit | 3/4" FLEX | 3.75 | 53.2 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000037 | Conduit | 1" FLEX | 4 | 104.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000038 | Conduit | 1-1/4" FLEX | 4.5 | 131.08 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000039 | Conduit | 1-1/2" FLEX | 5 | 187.71 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000040 | Connectors | 1/2" COMP CONNECTOR | 3 | 34.72 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000041 | Connectors | 3/4" COMP CONNECTOR | 5 | 52.28 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000042 | Connectors | 1" COMP CONNECTOR | 7 | 76.08 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000043 | Connectors | 1-1/4" COMP CONNECTOR | 9 | 177.31 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000044 | Connectors | 1-1/2" COMP CONNECTOR | 10 | 272.67 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000045 | Connectors | 2" COMP CONNECTOR | 12 | 396.9 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000046 | Connectors | 3" COMP CONNECTOR | 18 | 1054.3 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000047 | Connectors | 4" COMP CONNECTOR | 23 | 2063.26 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000048 | Connectors | FLEX 3/8" STRAIGHT | 6.25 | 30.84 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000049 | Connectors | FLEX 1/2" STRAIGHT | 6.25 | 36.7 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000050 | Connectors | FLEX 3/4" STRAIGHT | 7.5 | 62.03 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000051 | Connectors | FLEX 1" STRAIGHT | 9 | 135.27 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000052 | Connectors | FLEX 1-1/4" STRAIGTH | 9.5 | 216.19 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000053 | Connectors | FLEX 1-1/2" STRAIGHT | 12 | 285.31 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000054 | Connectors | FLEX 2" STRAIGHT | 13.5 | 397.45 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000055 | Connectors | FLEX 3/8" 90 | 7.5 | 44.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000056 | Connectors | FLEX 1/2" 90 | 7.5 | 56.48 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000057 | Connectors | FLEX 3/4" 90 | 8 | 168.03 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000058 | Connectors | FLEX 1" 90 | 9 | 351.26 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000059 | Connectors | FLEX 1-1/4" 90 | 10 | 600.96 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000060 | Connectors | FLEX 1-1/2" 90 | 11.25 | 1158.85 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000061 | Connectors | FLEX 2" 90 | 14 | 1285.03 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000062 | Connectors | SEALTITE 1/2" STRAIGHT | 6 | 274.32 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000063 | Connectors | SEALTITE 3/4" STRAIGHT | 9.5 | 359.96 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000064 | Connectors | SEALTITE 1" STRAIGHT | 10 | 318.86 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000065 | Connectors | SEALTITE 1-1/4" STRAIGHT | 14 | 851.34 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000066 | Connectors | SEALTITE 1-1/2" STRAIGHT | 15 | 779.76 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000067 | Connectors | SEALTITE 2" STRAIGHT | 16 | 1426.08 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000068 | Connectors | SEALTITE 1/2" 90 | 9 | 425.94 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000069 | Connectors | SEALTITE 3/4" 90 | 11 | 330 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000070 | Connectors | SEALTITE 1" 90 | 13.5 | 728.56 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000071 | Connectors | SEALTITE 1-1/4" 90 | 16 | 956.09 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000072 | Connectors | SEALTITE 1-1/2"90 | 17 | 1362.16 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000073 | Connectors | SEALTITE 2" 90 | 18 | 1989.04 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000074 | Connectors | 1/2" Locknuts | 4 | 8.75 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000075 | Connectors | 3/4" Locknuts | 4.25 | 11.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000076 | Connectors | 1" Locknuts | 4.5 | 19.81 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000077 | Connectors | 1-1/4" Locknuts | 5 | 28.99 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000078 | Connectors | 1-1/2" Locknuts | 5.5 | 41.68 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000079 | Connectors | 2" Locknuts | 6 | 56.7 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000080 | Connectors | 3" Locknuts | 7 | 0 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000081 | Connectors | 4" Locknuts | 8 | 249.1 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000082 | Connectors | 1/2" Meyers Hub | 6 | 439.57 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000083 | Connectors | 3/4" Meyers Hub | 7 | 514.67 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000084 | Connectors | 1" Meyers Hub | 9 | 616.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000085 | Couplings | 1/2" COMP COUPLING | 3 | 31 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000086 | Couplings | 3/4" COMP COUPLING | 5 | 72.22 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000087 | Couplings | 1" COMP COUPLING | 7 | 69 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000088 | Couplings | 1-1/4" COMP COUPLING | 9 | 123 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000089 | Couplings | 1-1/2" COMP COUPLING | 10 | 183 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000090 | Couplings | 2" COMP COUPLING | 12 | 149 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000091 | Couplings | 3" COMP COUPLING | 18 | 957 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000092 | Couplings | 4" COMP COUPLING | 24 | 1909 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000093 | Couplings | 1/2" RIGID COUPLING | 4 | 66.28 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000094 | Couplings | 3/4" RIGID COUPLING | 5 | 81.36 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000095 | Couplings | 1" RIGID COUPLING | 7 | 120.5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000096 | Couplings | 1-1/4" RIGID COUPLING | 9 | 150.65 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000097 | Couplings | 1-1/2" RIGID COUPLING | 11 | 190.25 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000098 | Couplings | 2" RIGID COUPLING | 13 | 251.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000099 | Couplings | 4" RIGID COUPLING | 35 | 1303.09 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000100 | Couplings | 1/2" PVC MALE, FEMALE, COUPLING | 3.75 | 13.17 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000101 | Couplings | 3/4" PVC FEMALE, COUPLING | 4 | 20.79 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000102 | Couplings | 1" PVC MALE, FEMALE, COUPLING | 4.5 | 28.1 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000103 | Couplings | 1-1/2"" PVC MALE, FEMALE, COUPLING | 5.5 | 39.97 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000104 | Couplings | 2" PVC MALE, FEMALE, COUPLING | 6 | 54.45 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000105 | Couplings | 3" PVC MALE, FEMALE, COUPLING | 7 | 150.77 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000106 | Straps | 1/2" Minis | 6 | 63.92 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000107 | Straps | 3/4" Minis | 8 | 73.58 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000108 | Straps | 1" Minis | 10 | 27.61 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000109 | Straps | 1-1/4" Minis | 12 | 33.37 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000110 | Straps | 1-1/2" Minis | 13 | 46.21 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000111 | Straps | 2" Minis | 14 | 45.33 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000112 | Straps | 3" Minis | 18 | 105 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000113 | Straps | 4" Minis | 25 | 246 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000114 | Straps | 1/2" One hole | 2.5 | 5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000115 | Straps | 3/4" One hole | 2.5 | 8 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000116 | Straps | 1" One hole | 2.7 | 12 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000117 | Straps | 1-1/4" One hole | 2.9 | 21 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000118 | Straps | 1-1/2" One hole | 3 | 42 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000119 | Straps | 2" One hole | 3.25 | 49 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000120 | Straps | 3" One hole | 3.75 | 144 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000121 | Straps | 4" One hole | 4.25 | 303 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000122 | Straps | 1/2" Strut Straps | 2 | 80 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000123 | Straps | 3/4" Strut Straps | 4 | 95.07 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000124 | Straps | 1" Strut Straps | 5 | 70.88 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000125 | Straps | 1-1/4" Strut Straps | 6.25 | 92 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000126 | Straps | 1-1/2" Strut Straps | 7.25 | 106 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000127 | Straps | 2" Strut Straps | 9 | 176.72 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000128 | Straps | 3" Strut Straps | 11 | 134 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000129 | Straps | 4" Strut Straps | 14 | 218 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000130 | Caddy | BOX TO STUD SUPPORT | 3 | 189.19 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000131 | Caddy | FAR SIDE BOX SUPPORT | 2 | 166.93 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000132 | Caddy | 1/2 - 3/4 CONDUIT TO STUD | 3 | 179.5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000133 | Caddy | 1" CONDUIT TO STUD | 3 | 191.89 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000134 | Caddy | BOX TO CONDUIT SUPPORT 1/2 - 3/4 | 3 | 492.1 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000135 | Caddy | BANG ON STRAIGHT 1/2 - 3/4 | 3 | 131.41 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000136 | Caddy | BANG ON 90 1/2 - 3/4 | 3 | 190.57 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000137 | Caddy | BEAM CLAMP 1/4" THREADED | 3 | 129.18 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000138 | Boxes | 4" SQUARE 1-1/2" DEEP 1/2 & 3/4 KO | 18 | 64.92 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000139 | Boxes | 4" SQUARE 2-1/8" DEEP 1/2 & 3/4 COMBO KO | 18 | 180.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000140 | Boxes | 4" SQUARE BLANK BOX COVER | 6 | 53.79 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000141 | Boxes | 4" Extension Ring | 6 | 182.6 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000142 | Boxes | 4" 1/2" RISE 1G PLASTER RING | 4.5 | 37.54 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000143 | Boxes | 4" 5/8" RISE 1G PLASTER RING | 4.5 | 72.58 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000144 | Boxes | 4" 5/8" RISE 2G PLASTER RING | 5 | 64.14 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000145 | Boxes | 4" RAISED DUPLEX COVER | 6 | 85.64 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000146 | Boxes | 4" RAISED DOUBLE DUPLEX COVER | 6 | 101.55 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000147 | Boxes | 4" ROUND BOX 1-1/2" DEEP 1/2" KO | 18 | 85.44 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000148 | Boxes | 1G SWITCH BOX 1-1/2" DEEP 1/2" KO | 12 | 104.33 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000149 | Boxes | 1G SWITCH BOX 1-1/2" DEEP W/RX CONNECTOR | 12 | 237.25 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000150 | Boxes | 1G HANDY BOX 1-7/8" DEEP 1/2" KO | 12 | 72.22 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000151 | Boxes | 4" SQUARE TO ROUND PLASTER RING | 4.5 | 47.2 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000152 | Boxes | 4-11/16 SQUARE 1/2 & 3/4 COMBO BOX | 22.5 | 138.89 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000153 | Boxes | 4-11/16 SQUARE 1" | 22.5 | 225 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000154 | Boxes | 4-11/16" SQUARE BLANK | 12 | 35.62 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000155 | Boxes | 4 11/16" Extension Ring | 6.5 | 5.26 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000156 | Boxes | 4-11/16" 1/2" RISE 1G PLASTER RING | 5 | 1.31 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000157 | Boxes | 4-11/16" 5/8" RISE 1G PLASTER RING | 5 | 1.69 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000158 | Boxes | 4-11/16" 5/8" RISE 2G PLASTER RING | 5.5 | 2.43 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000159 | Boxes | 10x10x6 Hoffman | 1 | 90.51 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000160 | Boxes | 10x10 back plate | 0.08 | 8.55 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000161 | Boxes | 12x12 Hoffman | 1.15 | 108.35 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000162 | Boxes | 12x12 back plate | 0.08 | 11.49 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000163 | Boxes | NEMA 4 12x12x6 | 1.15 | 149.33 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000164 | Boxes | NEMA 4 12x12x8 | 1.15 | 175 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000165 | Boxes | NEMA 4 20x20x8 | 1.25 | 617.78 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000166 | Boxes | NEMA 4 30x36x8 | 1.5 | 760.11 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000168 | Boxes | 1G W/P BOX W/3 1/2" HUHBS | 31.25 | 173.38 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000169 | Boxes | 2G W/P BOX W/(5) 3/4" HUBS | 36 | 526.35 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000170 | Boxes | ROUND W/P BOX W (5) 1/2" HUBS | 31.25 | 278.22 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000171 | Boxes | PAR W/P LAMPHOLDER | 0.2 | 12.97 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000172 | Boxes | 1G VERT/HORZ WEATHERPROOF COVER | 6 | 241.61 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000173 | Boxes | 1G BUBBLE COVER | 10 | 405 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000174 | Boxes | 1G WEATHERPROOF BLANK COVER | 4 | 51.35 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000175 | Boxes | 6x6x24 Screw Cover Gutter | 0.8 | 65 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000176 | Boxes | 6x6x36 Screw Cover Gutter | 0.9 | 86 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000177 | StrutAllThread | 7/8" STRUT | 12 | 117.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000178 | StrutAllThread | 1-5/8" STRUT | 14 | 233.65 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000179 | StrutAllThread | STRUT FEET | 100 | 1750.21 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000180 | StrutAllThread | STRUT COUPLINGS | 15 | 303.49 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000181 | StrutAllThread | 2 HOLE ELLS | 15 | 130.37 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000182 | StrutAllThread | 4 HOLE ELLS | 15 | 245.69 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000183 | StrutAllThread | 2 HOLE FLAT ELLS | 15 | 214.97 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000184 | StrutAllThread | 4 HOLE FLAT ELLS | 15 | 633.28 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000185 | StrutAllThread | 1/4" ALL THREAD | 10 | 28.74 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000186 | StrutAllThread | 3/8" ALL THREAD | 15 | 41.98 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000187 | StrutAllThread | 1/2" ALL THREAD | 25 | 71.58 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000188 | StrutAllThread | 1/4" COUP | 9 | 25.88 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000189 | StrutAllThread | 3/8" COUP | 9 | 39.4 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000190 | StrutAllThread | 1/2" COUP | 9 | 48.86 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000191 | Anchors | RED PLASTIC ANCHOR KIT | 3 | 13.4 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000192 | Anchors | 1 1/4" TAPCONS | 4 | 18.11 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000193 | Anchors | 1 3/4" TAPCONS | 4 | 24.67 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000194 | Anchors | 2 1/4" TAPCONS | 4.5 | 26.24 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000195 | Anchors | ZINC #8 ZIP-ITS | 1 | 15.25 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000196 | Anchors | 1/4 X 1/2 SLEEVE ANCHORS | 6 | 0 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000197 | Anchors | 1/4 X 1 3/8 SLEEVE ANCHORS | 6 | 20.61 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000198 | Anchors | 1/4 X 2 1/4 SLEEVE ANCHORS | 6 | 27.17 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000199 | Anchors | 1/4" DROP IN ANCHORS | 8 | 40.55 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000200 | Anchors | 3/8" DROP IN ANCHORS | 10 | 61.96 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000201 | BushingsKOPlugs | 1/2" PB Screw on | 4 | 37 | 100 | BPT 321 | Bridgeport | Greentech | 51-010 |  | 52-010
ITM-000202 | BushingsKOPlugs | 3/4" PB Screw on | 5 | 8.33 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000203 | BushingsKOPlugs | 1" PB Screw on | 7 | 12.54 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000204 | BushingsKOPlugs | 1/2" PB Pop on | 3 | 9.38 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000205 | BushingsKOPlugs | 3/4" PB Pop on | 5 | 27.96 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000206 | BushingsKOPlugs | 1" PB Pop on | 7 | 27.99 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000207 | BushingsKOPlugs | 1/2" PB Push in | 3 | 13.38 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000208 | BushingsKOPlugs | 3/4" PB Push in | 6 | 48 | 100 | NM95 | Arlington | Home Depot | 51-010 |  | 52-010
ITM-000209 | BushingsKOPlugs | 1" PB Push in | 7 | 26.04 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000210 | BushingsKOPlugs | 1/2" KO | 3 | 26.89 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000211 | BushingsKOPlugs | 3/4" KO | 5 | 33.26 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000212 | BushingsKOPlugs | 1" KO | 7 | 59.81 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000213 | BushingsKOPlugs | 3/4" Alum Plug | 0.08 | 5.41 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000214 | BushingsKOPlugs | 1/2" Alum Plug | 0.08 | 4.82 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000215 | Condulets | 1/2" LB | 10 | 294.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000216 | Condulets | 1/2" LL | 10 | 294.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000217 | Condulets | 1/2" LR | 10 | 294.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000218 | Condulets | 1/2" T | 15 | 372.74 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000219 | Condulets | 1/2" TB | 15 | 294.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000220 | Condulets | 1/2" C | 10 | 294.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000221 | Condulets | 1/2" COVER | 0.01 | 0.65 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000222 | Condulets | 1/2" GASKET | 0.01 | 0.36 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000223 | Condulets | 3/4" LB | 15 | 386.99 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000224 | Condulets | 3/4" LL | 15 | 386.99 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000225 | Condulets | 3/4" LR | 15 | 386.99 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000226 | Condulets | 3/4" T | 20 | 480.68 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000227 | Condulets | 3/4" TB | 20 | 1057.59 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000228 | Condulets | 3/4" C | 15 | 253.77 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000229 | Condulets | 3/4" COVER | 0.015 | 0.96 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000230 | Condulets | 3/4" GASKET | 0.015 | 0.4 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000231 | Condulets | 1" LB | 15 | 561.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000232 | Condulets | 1" LL | 15 | 561.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000233 | Condulets | 1" LR | 15 | 561.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000234 | Condulets | 1" T | 20 | 699.64 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000235 | Condulets | 1" TB | 20 | 561.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000236 | Condulets | 1" C | 0.15 | 561.15 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000237 | Condulets | 1" COVER | 0.02 | 1.14 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000238 | Condulets | 1" GASKET | 0.02 | 0.58 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000239 | CableWire | THHN 16 STR BLACK | 3.6 | 39.29 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000240 | CableWire | THHN 14 STR BLACK | 3.6 | 78.51 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000241 | CableWire | THHN 12 SOL BLACK | 4.25 | 104 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000242 | CableWire | THHN 12 STR BLACK | 4.25 | 207.04 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000243 | CableWire | THHN 10 STR BLACK | 5.1 | 182.25 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000244 | CableWire | THHN 8 STR BLACK | 6 | 300.33 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000245 | CableWire | THHN 6 STR BLACK | 7 | 462.08 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000246 | CableWire | THHN 4 STR BLACK | 7.25 | 466.64 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000247 | CableWire | THHN 3 STR BLACK | 7.5 | 781.048 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000248 | CableWire | THHN 2 STR BLACK | 7.75 | 723.93 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000249 | CableWire | THHN 1/0 STR BLACK | 13.5 | 1086.74 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000250 | CableWire | THHN 2/0 STR BLACK | 15.25 | 1396.61 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000251 | CableWire | THHN 3/0 STR BLACK | 17 | 1783.96 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000252 | CableWire | THHN 4/0 STR BLACK | 18 | 2200.18 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000253 | CableWire | THHN 250 MCM BLACK | 20 | 2660.27 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000254 | CableWire | THHN 500 MCM BLACK | 29 | 5185.85 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000255 | CableWire | 18/2 | 10.8 | 220 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000256 | CableWire | 18/3 | 11.25 | 302 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000257 | CableWire | 18/4 | 11.48 | 376 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000258 | CableWire | 18/5 | 11.48 | 458 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000259 | CableWire | 18/6 | 12.38 | 575 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000260 | CableWire | 18/8 | 12.38 | 695 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000261 | CableWire | 22/2 | 10.8 | 106 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000262 | CableWire | 24 1.5 TSP | 11.25 | 176 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000263 | CableWire | 18/2 PURPLE LO CAP | 10.8 | 398 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000264 | CableWire | Fiber Optic 6 Fiber MM 50/125 i/o OM3 OFNP | 6 | 600 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000265 | CableWire | HW BACnet | 10.8 | 398 | 1000 |  |  | Windy City | 51-005 |  | 52-005
ITM-000266 | CableWire | Plenum Tubing 1/4" | 0.015 | 0.39 | 1 |  |  |  | 51-015 |  | 52-015
ITM-000267 | CableWire | Siemens B | 10.8 | 135 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000268 | CableWire | Siemens C | 10.8 | 198 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000269 | CableWire | Siemens H | 11.25 | 260 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000270 | CableWire | Siemens N | 12 | 114 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000271 | CableWire | Siemens S | 15 | 535 | 1000 |  |  |  | 51-005 |  | 52-005
ITM-000272 | CableWire | Cat 6 | 17.5 | 200 | 1000
ITM-000273 | Terminations | #24 | 0.05 | 0 | 1 | [5 empty] | 52-020
ITM-000274 | Terminations | #22 | 0.05 | 0 | 1 | [5 empty] | 52-020
ITM-000275 | Terminations | #18 | 0.05 | 0 | 1 | [5 empty] | 52-020
ITM-000276 | Terminations | #16 | 0.05 | 0 | 1 | [5 empty] | 52-020
ITM-000277 | Terminations | #14 | 0.05 | 0 | 1 | [5 empty] | 52-020
ITM-000278 | Terminations | #12 | 0.06 | 0 | 1 | [5 empty] | 52-020
ITM-000279 | Terminations | #10 | 0.08 | 0 | 1 | [5 empty] | 52-020
ITM-000280 | Terminations | #8 | 0.1 | 0 | 1 | [5 empty] | 52-020
ITM-000281 | Terminations | #6 | 0.12 | 0 | 1 | [5 empty] | 52-020
ITM-000282 | Terminations | #4 | 0.14 | 0 | 1 | [5 empty] | 52-020
ITM-000283 | Terminations | #3 | 0.15 | 0 | 1 | [5 empty] | 52-020
ITM-000284 | Terminations | #2 | 0.17 | 0 | 1 | [5 empty] | 52-020
ITM-000285 | Terminations | #1 | 0.19 | 0 | 1 | [5 empty] | 52-020
ITM-000286 | Terminations | 1/0 | 0.21 | 0 | 1 | [5 empty] | 52-020
ITM-000287 | Terminations | 2/0 | 0.23 | 0 | 1 | [5 empty] | 52-020
ITM-000288 | Terminations | 3/0 | 0.24 | 0 | 1 | [5 empty] | 52-020
ITM-000289 | Terminations | 4/0 | 0.26 | 0 | 1 | [5 empty] | 52-020
ITM-000290 | Terminations | 250 MCM | 0.28 | 0 | 1 | [5 empty] | 52-020
ITM-000291 | Terminations | 300 MCM | 0.3 | 0 | 1 | [5 empty] | 52-020
ITM-000292 | Terminations | 350 MCM | 0.32 | 0 | 1 | [5 empty] | 52-020
ITM-000293 | Terminations | 400 MCM | 0.33 | 0 | 1 | [5 empty] | 52-020
ITM-000294 | Terminations | 500 MCM | 0.35 | 0 | 1 | [5 empty] | 52-020
ITM-000295 | Terminations | 600 MCM | 0.37 | 0 | 1 | [5 empty] | 52-020
ITM-000296 | Terminations | 700 MCM | 0.39 | 0 | 1 | [5 empty] | 52-020
ITM-000297 | Terminations | 750 MCM | 0.39 | 0 | 1 | [5 empty] | 52-020
ITM-000298 | Terminations | 1000 MCM | 0.39 | 0 | 1 | [5 empty] | 52-020
ITM-000299 | Terminations | Fiber Testing | 0.12 | 0 | 1 | [5 empty] | 52-020
ITM-000300 | Terminations | Splices Including Prep and Failures (Fusion) | 0.3 | 0 | 1 | [5 empty] | 52-020
ITM-000301 | Terminations | Splices Including Prep and Failures (Mechanical) | 0.4 | 0 | 1 | [5 empty] | 52-020
ITM-000302 | Terminations | Splices Including Prep and Failures (Array splice, 12 Fibers) | 1 | 0 | 1 | [5 empty] | 52-020
ITM-000303 | Terminations | Coupler | 0.15 | 0 | 1 | [5 empty] | 52-020
ITM-000304 | Terminations | Terminations Including Prep and Failures (Polishing Required) | 0.4 | 0 | 1 | [5 empty] | 52-020
ITM-000305 | Terminations | Terminations Including Prep and Failures (No-Polish) | 0.3 | 0 | 1 | [5 empty] | 52-020
ITM-000306 | Terminations | Terminations Including Prep and Failures (FDDI Dual Connector) | 0.8 | 0 | 1 | [5 empty] | 52-020
ITM-000307 | Terminations | Cross Connect Box, 144 Fibers | 3 | 0 | 1 | [5 empty] | 52-020
ITM-000308 | Terminations | Splice Cabinet | 2 | 0 | 1 | [5 empty] | 52-020
ITM-000309 | Terminations | Breakout Kit, 6 Fibers | 1 | 100 | 1 |  |  |  | 51-005 |  | 52-020
ITM-000310 | MiscHardware | 1/4" SPRING NUTS | 9 | 49.64 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000311 | MiscHardware | 3/8" SPRING NUTS | 9 | 54.3 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000312 | MiscHardware | 1/2" SPRING NUTS | 9 | 63.4 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000313 | MiscHardware | 6/32 MACHINE SCREWS | 2.25 | 4.5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000314 | MiscHardware | 8/32 MACHINE SCREWS | 2.25 | 5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000315 | MiscHardware | 10/32 MACHINE SCREWS | 2.25 | 6 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000316 | MiscHardware | 1/4-20 X 1/2 Bolts | 2.25 | 5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000317 | MiscHardware | 1/4-20 X 3/4 Bolts | 2.25 | 6 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000318 | MiscHardware | 1/4-20 X 1 Bolts | 2.25 | 6 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000319 | MiscHardware | 1/4 X 1 FLAT WASHERS | 2.25 | 3.66 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000320 | MiscHardware | 1/4" LOCK WASHERS | 2.25 | 1.5 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000321 | MiscHardware | 1/4 X 20 NUTS | 2.25 | 2.54 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000322 | MiscHardware | 1/4" STEEL BEAM CLAMPS | 20 | 40.42 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000323 | MiscHardware | 3/8" STEEL BEAM CLAMPS | 25 | 236.94 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000324 | MiscHardware | 3/4 - 1/2 REDUCING WASHERS | 6.5 | 14.11 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000325 | MiscHardware | 1 - 3/4 REDUCING WASHERS | 14 | 17.85 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000326 | MiscHardware | 3/4 - 1/2 REDUCING BUSHINGS | 5 | 54.61 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000327 | MiscHardware | 1 - 1/2 REDUCING BUSHINGS | 6 | 85.75 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000328 | MiscHardware | 1 - 3/4 REDUCING BUSHINGS | 6 | 88.46 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000329 | MiscHardware | 1/2" OFFSET NIPPLES | 5 | 97.59 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000330 | MiscHardware | 3/4" OFFSET NIPPLES | 6 | 128.68 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000331 | MiscHardware | 3/16" x 3" TOGGLE BOLTS | 7 | 24.29 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000332 | MiscHardware | 1/4" x 3" TOGGLE BOLTS | 7 | 28.05 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000333 | MiscHardware | #8 X 1 1/4" HEX SELF TAPPER | 0.2 | 11.83 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000334 | MiscHardware | #10 X 1 HEX SELF TAPPER | 0.2 | 10 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000335 | MiscHardware | GROUND SCREW | 0.2 | 3.42 | 100 |  |  | Elliott | 51-010 |  | 52-010
ITM-000337 | WireNutsTapeSoapPullstringEtc | ORANGE WIRE NUTS | 20 | 95.47 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000338 | WireNutsTapeSoapPullstringEtc | YELLOW WIRE NUTS | 20 | 97.16 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000339 | WireNutsTapeSoapPullstringEtc | RED WIRE NUTS | 30 | 111.42 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000340 | WireNutsTapeSoapPullstringEtc | BIG BLUE WIRE NUTS | 5 | 41.76 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000341 | WireNutsTapeSoapPullstringEtc | ORANGE/BLUE WIRE NUTS | 20 | 59.24 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000342 | WireNutsTapeSoapPullstringEtc | RED/YELLOW WIRE NUTS | 30 | 80.57 | 1000 |  |  | Elliott | 51-005 |  | 52-005
ITM-000343 | WireNutsTapeSoapPullstringEtc | BLACK TAPE (33) | 2 | 4.76 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000344 | WireNutsTapeSoapPullstringEtc | BLACK TAPE (1700) | 2 | 0.84 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000345 | WireNutsTapeSoapPullstringEtc | Phase Tape (35) | 2 | 4.14 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000346 | WireNutsTapeSoapPullstringEtc | DUCT TAPE | 2 | 10.09 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000347 | WireNutsTapeSoapPullstringEtc | CAUTION TAPE | 2 | 19.42 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000348 | WireNutsTapeSoapPullstringEtc | PULL STRING (6500') | 0.002 | 0.01 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000349 | WireNutsTapeSoapPullstringEtc | Aquagel Squeeze tube (lube) | 1 | 6.58 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000350 | WireNutsTapeSoapPullstringEtc | Aquagel 1gal (lube) | 4 | 15.58 | 1 |  |  | Elliott | 51-005 |  | 52-005
ITM-000351 | WireNutsTapeSoapPullstringEtc | 3M Fire Caulk | 0.5 | 1 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000352 | WireNutsTapeSoapPullstringEtc | PVC GLUE 1quart | 0.5 | 10.21 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000353 | WireNutsTapeSoapPullstringEtc | 3M Fire Caulk 10.1oz | 0.5 | 1 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000354 | WireNutsTapeSoapPullstringEtc | Rubber Grommet | 0.05 | 0.5 | 1 |  |  | Elliott | 51-010 |  | 52-010
ITM-000355 | Zipties | 11.1" 50 lb. Cable Ties Blk | 2.5 | 4.75 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000356 | Zipties | 11.1" 50 lb. Cable Ties Ntrl | 2.5 | 4.75 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000357 | Zipties | 11.1" 50 lb PLN Cable Ties Red | 2.5 | 4.75 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000358 | Zipties | 14.6" 50 lb. Cable Ties Blk | 2.5 | 5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000359 | Zipties | 14.6" 50 lb. Cable Ties Ntrl | 2.5 | 5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000360 | Zipties | 14.6" 50 lb PLN Cable Ties Red | 2.5 | 5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000361 | Zipties | 4.1" 18 lb. Cable Ties Blk | 2.5 | 10.7 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000362 | Zipties | 4.1" 18 lb PLN Cable Ties Red | 2.5 | 1.89 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000363 | Zipties | 7.6" 50 lb. Cable Ties Blk | 2.5 | 3 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000364 | Zipties | 8.1" 50 lb. MH Cable Ties Blk | 2.5 | 10.7 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000365 | Zipties | 7.6" 50 lb. Cable Ties Ntrl | 2.5 | 3 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000366 | Zipties | 8.1" 50 lb. MH Cable Ties Ntrl | 2.5 | 3.5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000367 | Zipties | 7.6" 50 lb. PLN Cable Ties Red | 2.5 | 3 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000368 | Zipties | 1" Adhesive Mounting Pads Blk | 2.5 | 10.5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000369 | Zipties | 1" Adhesive Mounting Pads Ntrl | 2.5 | 10.5 | 100 |  |  |  | 51-005 |  | 52-005
ITM-000370 | PanelBuildingTerminationSupplies | 3/4" WHITE LABELS | 0.04 | 0.18 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000371 | PanelBuildingTerminationSupplies | 6.22 feed thru terminals | 0.05 | 0.97 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000372 | PanelBuildingTerminationSupplies | Din Rail | 0.25 | 8.1 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000373 | PanelBuildingTerminationSupplies | End Stop | 0.08 | 2 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000374 | PanelBuildingTerminationSupplies | End Cover | 0.08 | 0.34 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000375 | PanelBuildingTerminationSupplies | 1.5" x 3" Panduit (6') | 0.3 | 5.42 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000376 | PanelBuildingTerminationSupplies | 3" x 3" Panduit (6") | 0.3 | 5.42 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000377 | PanelBuildingTerminationSupplies | 1.5" Panduit Cover (6") | 0.3 | 1.18 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000378 | PanelBuildingTerminationSupplies | 3" Panduit Cover (6") | 0.3 | 1.98 | 1 |  |  |  | 51-005 |  | 52-005
ITM-000379 | PanelBuildingTerminationSupplies | Stakon #22-18 (forks)(red) | 6 | 15.94 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000380 | PanelBuildingTerminationSupplies | Stakon #18-14 (forks)(blue) | 6 | 15.94 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000381 | PanelBuildingTerminationSupplies | Stakon #12-10 (forks)(yellow) | 9 | 20.86 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000382 | PanelBuildingTerminationSupplies | Stakon #22-18 (female)(red) | 6 | 15.68 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000383 | PanelBuildingTerminationSupplies | Stakon #16-14 (female)(blue) | 6 | 15.68 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000384 | PanelBuildingTerminationSupplies | Stakon #12-10 (female)(yellow) | 9 | 29.4 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000385 | PanelBuildingTerminationSupplies | Stakon #22-18 (rings)(red) | 6 | 15.68 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000386 | PanelBuildingTerminationSupplies | Stakon #16-14 (rings)(blue) | 6 | 14.88 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000387 | PanelBuildingTerminationSupplies | Stakon #12-10 (rings)(yellow) | 9 | 20.86 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000388 | PanelBuildingTerminationSupplies | Stakon #22-18 (female)(red)(ins) | 6 | 41.51 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000389 | PanelBuildingTerminationSupplies | Stakon #16-14 (female)(blue)(ins) | 6 | 41.51 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000390 | PanelBuildingTerminationSupplies | Stakon #12-10 (female)(yellow)(ins) | 9 | 0 | 100 |  |  | Elliott | 51-005 |  | 52-005
ITM-000441 | MiscLabor | 1hr Misc | 1 | 0 | 1 | [5 empty] | 52-000
ITM-000442 | MiscLabor | Demo | 1 | 0 | 1 | [5 empty] | 52-035
ITM-000443 | MiscLabor | Clean up | 1 | 0 | 1 | [5 empty] | 52-000
ITM-000444 | MiscLabor | Commissioning and Testing | 1 | 0 | 1 | [5 empty] | 52-060
ITM-000445 | MiscLabor | Panel Building | 1 | 0 | 1 | [5 empty] | 52-030
ITM-001242 | Breaker | Sq D QO 1p 20a | 0.32 | 16.98 | 1 |  | SQD
ITM-001243 | Breaker | Sq D QO 2p 20a | 0.34 | 40.87 | 1 |  | SQD
ITM-001244 | Breaker | TYPE BR BRKR 15A/1 POLE 120/240V 10K | 0.32 | 6.85 | 1 | 78667636205 | Eaton | Elliott
ITM-001245 | Breaker | TYPE BR BRKR 20A/1 POLE 120/240V 10K | 0.34 | 6.85 | 1 | 78667636210 | Eaton | Elliott
ITM-001246 | Breaker | TYPE BR BRKR 15A/2 POLE 120/240V 10 | 0.48 | 15.73 | 1 | 78667636280 | Eaton | Elliott
ITM-001247 | Breaker | TYPE BR BRKR 20A/2 POLE 120/240V 10K | 0.52 | 11.18 | 1 | 78667636285 | Eaton | Elliott
ITM-001248 | Breaker | TYPE BR BRKR 30A/2 POLE 120/240V 10K | 0.58 | 15.73 | 1 | 78667636295 | Eaton | Elliott
ITM-001249 | Breaker | TYPE BR BRKR 40A/2 POLE 120/240V 10K | 0.61 | 18.71 | 1 | 78667636300 | Eaton | Elliott
ITM-001250 | Breaker | TYPE BR BRKR 50A/2 POLE 120/240V 10K | 0.64 | 14.62 | 1 | 78667636305 | Eaton | Elliott
ITM-001251 | Breaker | TYPE BR BRKR 60A/2 POLE 120/240V 10K | 0.72 | 15.08 | 1 | 78667636310 | Eaton | Elliott
ITM-001252 | Breaker | TYPE BR BRKR 70A/2 POLE 120/240V 10K | 0.81 | 50.29 | 1 | 78667636315 | Eaton | Elliott
ITM-001253 | Breaker | TYPE BR BRKR 80A/2 POLE 120/240V 10K | 0.88 | 72.88 | 1 | 78667636317 | Eaton | Elliott
ITM-001254 | Breaker | BR DUPLEX BRKR 2-20A/1 POLE 120/240V 10K NON-CTL | 0.52 | 35.13 | 1 | 78667637025 | Eaton | Elliott
ITM-001255 | Breaker | TYPE CHF BRKR 20A/1P 120/240V 10 KAIC | 0.34 | 6.76 | 1 | 78668536184 | Eaton | Elliott
ITM-001256 | Breaker | TYPE CHF BRKR 20A/2P 120/240V 10 KAIC | 0.52 | 19.81 | 1 | 78668536188 | Eaton | Elliott
ITM-001257 | Breaker | TYPE CHF BRKR 30A/2P 120/240V 10 KAIC | 0.58 | 15.73 | 1 | 78668536190 | Eaton | Elliott
ITM-001258 | Breaker | TYPE CHF BRKR 40A/2P 120/240V 10KAIC | 0.61 | 15.73 | 1 | 78668553216 | Eaton | Elliott
ITM-001259 | Breaker | TYPE CHF BRKR 50A/2P 120/240V 10KAIC | 0.64 | 15.74 | 1 | 78668553217 | Eaton | Elliott
ITM-001260 | Disconnect | 30A/2P GD NF SAFETY SWITCH 240V NEMA 3R | 1.87 | 76.37 | 1 | 78211312023 | Eaton | Elliott
ITM-001261 | Disconnect | 30A/2P GD FUSIBLE SAFETY SWITCH W/NEUT 240V NEMA3R | 2.2 | 92.59 | 1 | 78211312031 | Eaton | Elliott
ITM-001262 | Disconnect | 60A/2P GD FUSIBLE SAFETY SWITCH W/NEUT 240V NEMA3R | 2.97 | 152.46 | 1 | 78211314422 | Eaton | Elliott
ITM-001263 | Disconnect | 60A/2P GD NF SAFETY SWITCH 240V NEMA 3R | 2.75 | 125.06 | 1 | 78211314423 | Eaton | Elliott
ITM-001264 | Disconnect | 100A/2P GD FUSIBLE SAFETY SWITCH W/NEUT 240V NEMA | 4.18 | 186.79 | 1 | 78211314425 | Eaton | Elliott
ITM-001265 | Disconnect | 100A/2P GD NF SAFETY SWITCH 240V NEMA 3R | 3.5 | 186.79 | 1 | 78211473115 | Eaton | Elliott
ITM-001266 | Fuse | 20A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 8.22 | 1 | 78263450732 |  | Elliott
ITM-001267 | Fuse | 30A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 8.22 | 1 | 78263450734 | Eaton | Elliott
ITM-001268 | Fuse | 35A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 13.61 | 1 | 78263450735 |  | Elliott
ITM-001269 | Fuse | 40A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 13.61 | 1 | 78263450736 | Eaton | Elliott
ITM-001270 | Fuse | 50A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 13.61 | 1 | 78263450738 |  | Elliott
ITM-001271 | Fuse | 60A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 13.61 | 1 | 78263450739 |  | Elliott
ITM-001272 | Fuse | 70A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 32.1 | 1 | 78263450740 |  | Elliott
ITM-001273 | Fuse | 80A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 32.1 | 1 | 78263450741 |  | Elliott
ITM-001274 | Fuse | 100A 250V CLASS RK5 TIME DELAY CL FUSE | 0.04 | 32.1 | 1 | 78263450743 |  | Elliott
ITM-001275 | Panelboards | BR PON LOADCNTR 200A 25KAIC MCB 30/60 CIR. AL BUS | 6 | 242.01 | 1 | 78668904406 | Eaton | Elliott
ITM-001276 | Panelboards | BR PON LOADCNTR 125A MLO 12 SPACE N3R | 3.5 | 170.67 | 1 | 78668905915 | Eaton | Elliott
ITM-001277 | Panelboards | BR PON LOADCNTR 200A MAIN BRKR 30 SPACE N3R | 4 | 294.37 | 1 | 78668905934 | Eaton | Elliott
ITM-001278 | Panelboards | BR PON LOADCNTR 150A MAIN BRKR 30 SPACE N3R | 4 | 380.43 | 1 | 78668905936 | Eaton | Elliott
ITM-001279 | Panelboards | Indoor Main Breaker 42 Space 225amp | 6 | 491.46 | 1 | BRP42BC225 | Eaton | Elliott
ITM-001280 | Panelboards | Outdoor Main Breaker 42 Space 225amp | 6 | 344.4 | 1 | BRP42NC225R | Eaton | Elliott
ITM-001281 | Service | 2" HUB | 0.15 | 15.69 | 1 | 66227700823 |  | Elliott
ITM-001282 | Service | Hub Closure | 0.15 | 8.3 | 1 | 78211400407 |  | Elliott
ITM-001283 | Service | Bypass Plate | 0.5 | 0 | 1 | Bypass Plate | Milbank | Locke
ITM-001284 | Service | 200A Overhead | 3 | 0 | 1 | S3850-O-TG-OGE | Milbank | Locke
ITM-001285 | Service | 200A Underground | 3 | 0 | 1 | S5013-DL-TG-OGE | Milbank | Locke
ITM-001286 | Service | PV Meterbase | 2 | 0 | 1 | S8830-ZL-TG-OGE | Milbank | Locke
ITM-001287 | Grounding | Arlington Ground Bridge | 0.5 | 9.42 | 1 | 1004356127 |  | Elliott
ITM-001288 | Grounding | 3/8"-3/4" 1/0 GROUND CLAMP | 0.6 | 2.38 | 1 | 66238100557 |  | Elliott
ITM-001289 | Grounding | 1/2-1" DIRECT BURIAL BRONZE GROUND CLAMP | 0.5 | 4.5 | 1 | 66238101008 |  | Elliott
ITM-001290 | Grounding | 1-1/4-2 BRNS CLAMP DIRECT | 0.75 | 14.51 | 1 | 66238101009 |  | Elliott
ITM-001291 | Grounding | 3/4" DIECAST INSULATED GROUNDING BUSHING | 0.2 | 4.1 | 1 | 78174709382 |  | Elliott
ITM-001292 | Grounding | 1" DIECAST INSULATED GROUNDING BUSHING | 0.22 | 4.32 | 1 | 78174709383 |  | Elliott
ITM-001293 | Grounding | 2" DIECAST INSULATED GROUNDING BUSHING | 0.28 | 7.72 | 1 | 78174709386 |  | Elliott
ITM-001294 | Grounding | 5/8"X8' CU GROUND ROD | 1.6 | 16.23 | 1 | 78285630609 |  | Elliott
ITM-001391 | Grounding | 5/8" GROUND ROD CLAMP | 0.22 | 14.83 | 1 | GRC63 |  | Greentech
ITM-001390 | Grounding | GROUND BRIDGE 5 CIRCUITS | 0.5 | 9.68 | 1 | GB5 | Arlington | Home Depot